## Sheet1
VENDOR NAME:
USI Stock # | Description | YTD Usage | Name of MFG. if different from Column A | Bidders Part Number if different from Column A | Qty. | Unit of Measure | Unit Cost | Extension
204442 | LAMP LED 8.5PL-C/T 26H-4000 IF 4P HORIZONTAL LED9W4PH/840DR-G7 | 430
204438 | LAMP LED DIMMABLE 9.5W 2700K 60W A19 EQUIV. | 572
204435 | LAMP LED DIMMABLE TCP LA1050KND6 A19 - 60W EQUIV. 5000K | 2672
204419 | LAMP F14T5/841 | 357
204376 | LAMP 25W FB32T8/ADV841/6/XEW/ALTO U-BEND | 37
204375 | LAMP 25W F32T8/ADV841/XEW/ALTO (USES 25W ENERGY) | 808
204362 | LAMP 28W F28T5/841/ALTO | 676
204314 | LAMP METAL HALIDE 70W METAL PROTECTED ED17 MHC70/U/MP/4K/ALTO MED BASE M98 CLEAR -SLEEVE SURROUNDS ARC TUBE | 32
204304 | LAMP 26W PL-T26W/841/4P/ALTO / F26TBX/SPX41/4P | 57
204303 | BULB 55W KEYSTONE KT-LED 9.5PAR30S-NF-927 SHORT NECK NARROW FLOOD | 9
204301 | LAMP 32W PL-T32W4PSPX41 HIGH PERFORM COMPACT FLUOR | 116
204291 | LAMP 13W F13DBX/SPX41/4P, PL-C13W/841/4P, CF13DD/E/841 4-PIN | 704
204288 | LAMP 17W F17T8/SP41 ECO | 202
204280 | LAMP 175W MET HAL MH175/U/M MED BASE CLEAR | 162
204229 | LAMP 26W F26DBX/SPX41/4P / PL-C26W/841/4P /CF26DDE841 4-PIN | 238
204339 | LAMP 36W PL-L36W/841 OR F39BX/SPX41/RS | 65
204200 | LAMP 40W F40T12/CWSUPREME/ALTO | 212
204186 | LAMP 250W METAL HAL MVR250/U MH250/U CLEAR | 38
204182 | LAMP 40W PL-L-40W/41/RS/IS OR F40/30BX/ SP41RS OR FT40DL/841/RS 4- PIN | 41
204179 | LAMP 26W PL-C26W/841 2PIN | 83
204174 | LAMP 100W METAL HAL MHC100/U/MP MED ED17 BALLAST M90 CLEAR | 36
204173 | LAMP 18W PL-C18W/841/4P/ALTO / CF18DDE841ECO | 391
204136 | LAMP 13W CF13DS/E/841 - 4-PIN (2GX7 BASE-4 PIN) | 37
204101 | LAMP 400W METAL HAL MH400/U ED37 MOGUL | 60
204449 | LAMP 54W 4000K CORN COB LED RAB HID-54-EX39-840-BYP-PT | 67
204446 | LAMP 100W LED (400W EQUIV) EX39 BASE 4000K BYPASS RAB HID-100-EX39-840-BYP-PT-G2 | 72
204036 | BULB 40W 40A15A APPLIANCE MED HI TEMP / 120/CS | 108
202417 | BALLAST DIMMING ADVANCE MARK 10 17/25/32W T8 VEZ2S32SC | 29
202562 | BALLAST HATCH 70W MC70-1-F-UNNU | 11
202311 | BALLAST 40W T5 ADVANCE ICN3TTP40SC35I | 24
202412 | BALLAST 26W/32W DIMMING LUTRON 2-LAMP 4-PIN EC3DT4MWKU2S | 10
202461 | BALLAST 17W GE332MAXPN/ULTRA OR ADVANCE IOPA3P32SC35I (3 LAMP) INSTANT START MULTI-VOLT | 22
202420 | BALLAST 17/25/32W T8 ICN4P32SC35I 3 OR 4 LAMP INSTANT START 120/277 | 11
202416 | BALLAST DIMMING LUTRON H3DT825GU310 / REPLACES EC3T832GU310 & FDB4827-120/277-3 | 20
202404 | BALLAST 16/18/21W ICF2S18H1LDK ADVANCE OR GE GEC218-MVPS-3W ELEC 120/277V 1 OR 2 LAMP | 13
202308 | BALLAST GEC226-MVPS-3W SUB FOR 21/26/32/42W ICF2S26H1LDK 120V /277V ADVANCE SMARTMATE COMPACT | 43
202301 | BALLAST GE232MAX-G-N SUB FOR 17/25/32W T8 ICN2P32N35I ADVANCE 120V/277V 2-LAMP | 35
202062 | BALLAST F14 F21 F28 F35 T5 ICN2S28T35I | 24
202003 | BALLAST 25/30/34/40W T12 ICN2S40N35I RAPID START UNIVERSAL VOLTAGE 2-LAMP | 11
202312 | PACK POWER (WATTSTOPPER) 120/277VAC BZ-150 | 30
…This Spreadsheet MUST be used in order for bid to be accepted